BDC 402-N – NEW BUILDING   GUIDANCE DOCUMENT for the 2025 Codes of New York State

When to use:

The BDC 402, Uniform Code Compliance Review Checklist, shall be completed by the Consultant/designer(s)-of-record, reviewed by the OGS PM, and submitted at the first post-Program Report milestone and updated in each future submission per the DPM 9.9 Codes.  Attachments should be included when specified by the checklist. Failure to complete the BDC 402 for the 100% document set, will result in rejection of the submission.

How to use:

This document was developed as a guide to assist the OGS PM in the code review process, and to establish a standard baseline for documentation.  It assists in basic code analysis and identifying what code compliance information and diagrams shall be included on drawings when specified by the Uniform Code. The Consultant/designer-of-record has the responsibility of compiling the necessary information and updating the BDC 402 at each submission.

Implications:

The seal and signature of an architect/engineer on a document submitted to OGS Design and Construction is an attestation that, to the best of the licensee's belief and information, the work represented in the construction documents: is accurate, conforms with governing codes applicable at the time of submission, and conforms with reasonable standards of practice and has undergone a full Code Review.  The BDC 402 is the formal documentation of this process.

| Commonly Omitted Code Information Required on Construction Documents |  |  |
| --- | --- | --- |
| No. | Topic | NYS Code Section (unless otherwise noted) |
| 2025 Building Code of New York State |  |  |
| 1 | Construction Documents | BC 1603 |
| 2 | Flood Hazard Documentation | BC 1612.4 |
| 3 | Structural Concrete | BC 1901.5 |
| 4 | Masonry – Special Inspection Information | BC 2101.3 |
| 5 | Steel Joist Design Data | BC 2207.2 |
| 6 | Glass Supports | BC 2403.2 |
| 7 | Safeguards During Construction | BC CH 33 |
| 8 | Adopted Appendices | BC 101.2.1 |
| 2025 Fire Code of New York State |  |  |
| 1 | Construction Documents – Fire Department review before construction. Code Enforcement Official Approval Required | FC 501.3 |
| 2 | Fire Apparatus Access Road (Appendix D) | FC 503 |
| 3 | Fire Protection Systems | FC 901.2 |
| 4 | Fire Alarm and Detection Systems | FC 907.1.1 |
| 5 | Smoke Control Systems | FC 909.2, FC 909.3, FC 909.4 |
| 6 | Fire Safety During Construction and Demolition | FC Chapter 33 |
| 2025 Energy Conservation Construction Code of New York State |  |  |
| 1 | Information Required on Construction Documents | ECCC C105.2 |
| 2 | Written Statement | ECCC C105.2.3 |
| 3 | System Commissioning | ECCC C408.2.1 |
| 4 | Amended Construction Documents | ECCC C105.4 |
| 5 | Duct Construction | ECCC C403.13.2 |
| 6 | Manuals – Operating and Maintenance | ECCC C408.3.2.2 |

| 2025 CODE COMPLIANCE REVIEW CHECKLIST |  |  |  |  | OGS Project No.: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Description: (Project Title, Facility Name and Address) |  | Building Name(s)/No.(s): |  |  |  | Client Agency: |  | Date: |
|  |  | Estimated Project Cost: |  |  |  | Architect/Engineer: |  |  |
| Project Type: (Check all that apply.) New Building or any other structure |  |  |  |  |  |  |  |  |
| Code Enforcement Jurisdiction: OGS Other |  |  | Department of State Variance Requested: YES NO | Occupancy Classification(s) Chapter 3: |  |  |  |  |
|  |  |  |  | Construction Classification(s) Chapter 6: |  |  |  |  |

| Key: ▲ Shall be indicated on the construction documents issued with construction permits. ♥ (Future identifier - Not Used) ■ Provide additional information below ♦ Attach analysis |  |  |  |  |  | Abbreviations: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | BC: Building Code EBC: Existing Building Code FC: Fire Code PC: Plumbing Code |  |  | MC: Mechanical Code FGC: Fuel Gas Code ECCC: Energy Conservation Construction Code |  |  |
| No. |  |  |  | Topic | SEE KEY | Building Code Section (unless otherwise noted) |  | EBC Code | Minimum Requirements from Code |  | Specify Actual |
|  |  |  |  | 2025 Fire Code of New York State |  |  |  |  |  |  |  |
| 1 |  |  |  | Fire Apparatus Access Road | ▲ | FC 503.1 |  |  |  |  |  |
|  |  |  |  | 2025 Building Code of New York State |  |  |  |  |  |  |  |
| 1 |  |  |  | High Rise Buildings |  | BC 403 |  |  |  |  |  |
|  |  |  |  | Automatic Sprinkler System |  | BC 403.3 |  |  |  |  |  |
|  |  |  |  | Emergency Systems |  | BC 403.4 |  |  |  |  |  |
|  |  |  |  | Fire Alarm System |  | BC 403.4.2 |  |  |  |  |  |
|  |  |  |  | Standby and Emergency Power |  | BC 403.4.8 |  |  |  |  |  |
| 2 |  |  |  | Atriums |  | BC 404 |  |  |  |  |  |
|  |  |  |  | Automatic Sprinkler Protection |  | BC 404.3 |  |  |  |  |  |
|  |  |  |  | Smoke Control |  | BC 404.5 |  |  |  |  |  |
|  |  |  |  | Enclosure of atriums |  | BC 404.6 |  |  |  |  |  |
|  |  |  |  | Standby Power |  | BC 404.7 |  |  |  |  |  |
|  |  |  |  | Exit Travel Distance |  | BC 404.9 – 404.10 |  |  |  |  |  |
| 3 |  |  |  | Control Areas | ▲■ | BC 414.2 |  |  |  |  |  |
| 4 |  |  |  | General Buildings Heights & Areas | ▲■ | BC 501 / 503, Table 506.2 |  |  |  |  |  |
| 5 |  |  |  | Mixed Occupancies | ▲♦ | BC 508.1 |  |  |  |  |  |
|  |  |  |  | Non-separated Occupancies |  | BC 508.3 |  |  |  |  |  |
|  |  |  |  | Separated Occupancies (Ratio < 1) |  | BC 508.4 |  |  |  |  |  |
| 6 |  |  |  | Incidental Use Areas |  | BC 509.1 |  |  |  |  |  |
|  |  |  |  | Non-separated Occupancies |  | BC 508.3 |  |  |  |  |  |
| 7 |  |  |  | Exterior Wall Fire-Resistance Rating † | ♥ | BC 602.1 Table 601 |  |  |  |  |  |
|  |  |  |  | Exterior Fire Separation Distance † |  | BC 602.1 Table 705.5 |  |  |  |  |  |
| 8 |  |  |  | Fire Resistive Construction |  | BC 701.1 |  |  |  |  |  |
|  |  |  |  | Exterior Wall: Allowable Area of Openings | ▲♦ | BC 705.9.1 |  |  |  |  |  |
|  |  |  |  | Protected Openings |  | BC 705.9.2 |  |  |  |  |  |
|  |  |  |  | Unprotected Openings |  | BC 705.9.3 |  |  |  |  |  |
|  |  |  |  | Exterior Wall: Vertical Separation of Openings |  | BC 705.9.5 |  |  |  |  |  |
|  |  |  |  | Parapets |  | BC 705.12 |  |  |  |  |  |
|  |  |  |  | Fire Walls |  | BC 706 |  |  |  |  |  |
|  |  |  |  | Fire Barriers |  | BC 707 |  |  |  |  |  |
|  |  |  |  | Fire Partitions |  | BC 708 |  |  |  |  |  |
|  |  |  |  | Smoke Barriers |  | BC 709 |  |  |  |  |  |
|  |  |  |  | Smoke Partitions |  | BC 710 |  |  |  |  |  |
|  |  |  |  | Vertical Openings |  | BC 712 |  |  |  |  |  |
|  |  |  |  | Shaft Enclosures |  | BC 713 |  |  |  |  |  |
|  |  |  |  | Penetrations |  | BC 714 |  |  |  |  |  |
|  |  |  |  | Fire Resistant Joint Systems |  | BC 715 |  |  |  |  |  |
|  |  |  |  | Opening Protectives |  | BC 716 |  |  |  |  |  |
|  |  |  |  | Concealed Spaces |  | BC 718 |  |  |  |  |  |
| 9 |  |  |  | Interior Finishes: General |  | BC 801 |  |  |  |  |  |
|  |  |  |  | Interior wall and ceiling finish requirements by occupancy |  | BC Table 803.13 |  |  |  |  |  |
| 10 |  |  |  | Fire Protection Systems: General |  | BC 901.1 |  |  |  |  |  |
|  |  |  |  | Automatic Sprinkler System |  | BC 903 |  |  |  |  |  |
|  |  |  |  | Alt. Automatic Fire Extinguishing System |  | BC 904 |  |  |  |  |  |
|  |  |  |  | Standpipe Systems |  | BC 905 |  |  |  |  |  |
|  |  |  |  | Portable Fire Extinguishers |  | BC 906 |  |  |  |  |  |
|  |  |  |  | Fire Alarm & Detection Systems | ▲ | BC 907 |  |  |  |  |  |
|  |  |  |  | Smoke Detection System |  | BC 907.2.11.7 |  |  |  |  |  |
|  |  |  |  | Smoke Control | ▲ | BC 909 |  |  |  |  |  |
|  |  |  |  | Smokeproof Enclosures | ▲ | BC 909.20 |  |  |  |  |  |
|  |  |  |  | Fire Command Center |  | BC 911 |  |  |  |  |  |
| 11 |  |  |  | Means of Egress |  |  | ▲■ | BC 1001.1 |  |  |  |  |  |
|  |  |  |  | Means of Egress Illumination |  |  |  | BC 1008 |  |  |  |  |  |
|  |  |  |  | Accessible Means of Egress |  |  |  | BC 1009 |  |  |  |  |  |
|  |  |  |  | Areas of Refuge |  |  |  | BC 1009.6 |  |  |  |  |  |
|  |  |  |  | Panic and Fire Exit Hardware |  |  |  | BC 1010.2.8 |  |  |  |  |  |
|  |  |  |  | Door Hardware Release of Elect. Locked Egress Doors |  |  |  | BC 1010.2.10 |  |  |  |  |  |
|  |  |  |  |  | Riser Height and Tread Depth |  |  | BC 1011.5.2 |  |  |  |  |  |
|  |  |  |  |  | Handrails |  |  | BC 1011.11 |  |  |  |  |  |
|  |  |  |  |  | Ramps |  |  | BC 1012 |  |  |  |  |  |
|  |  |  |  |  | Exit Signs |  |  | BC 1013 |  |  |  |  |  |
|  |  |  |  |  | Egress Through Intervening Spaces |  |  | BC 1016.2 |  |  |  |  |  |
|  |  |  |  |  | Exit Access Travel Distance |  |  | BC 1017.2.3 |  |  |  |  |  |
|  |  |  |  |  | Corridor Fire-Resistance Rating |  |  | BC Table 1020.1 |  |  |  |  |  |
|  |  |  |  |  | Width and Capacity |  |  | BC 1020.3 |  |  |  |  |  |
|  |  |  |  |  | Dead Ends |  |  | BC 1020.5 |  |  |  |  |  |
|  |  |  |  |  | Interior Exit Stairways and Ramps |  |  | BC 1023 |  |  |  |  |  |
|  |  |  |  |  | Smoke proof Enclosure |  |  | BC 1023.12 |  |  |  |  |  |
|  |  |  |  | Horizontal Exits |  |  |  | BC 1026 |  |  |  |  |  |
|  |  |  |  | Exterior Exit Stairways and Ramps/Discharge |  |  |  | BC 1027/1028 |  |  |  |  |  |
|  |  |  |  | Assembly |  |  |  | BC 1030 |  |  |  |  |  |
|  |  |  |  | Common Path of Egress Travel |  |  |  | BC 1030.8 |  |  |  |  |  |
| 12 |  |  |  | Accessibility |  |  | ▲ | BC 1101 ICC A117.1 (2017) |  |  |  |  |  |
|  |  |  |  | Accessible Route |  |  |  | BC 1104 |  |  |  |  |  |
|  |  |  |  | Accessible Entrances |  |  |  | BC 1105 |  |  |  |  |  |
|  |  |  |  | Parking |  |  |  | BC 1106 |  |  |  |  |  |
|  |  |  |  | Dwelling/Sleeping Units |  |  |  | BC 1108 |  |  |  |  |  |
|  |  |  |  | Toilet Rooms |  |  |  | BC 1110.2 |  |  |  |  |  |
|  |  |  |  | Signage |  |  |  | BC 1112 |  |  |  |  |  |
| 13 |  |  |  | Ventilation |  |  |  | BC 1202 |  |  |  |  |  |
|  |  |  |  | Light: Natural / Artificial |  |  |  | BC 1204.2 / 1204.3 |  |  |  |  |  |
| 14 |  |  |  | Minimum Ceiling Heights |  |  |  | BC 1208.2 |  |  |  |  |  |
| 15 |  |  |  | Energy Efficiency |  |  | ▲■ | BC 1301 (see ECCC) |  |  |  |  |  |
| 16 |  |  |  | Fire Classification – Roof Assembly |  |  |  | BC 1505 |  |  |  |  |  |
|  |  |  |  | Roof Coverings |  |  |  | BC 1507 |  |  |  |  |  |
| 17 |  |  |  | Structural / Const. Documents |  |  | ▲■ | BC 1603 |  |  |  |  |  |
|  |  |  |  | Risk Category |  |  |  | BC 1604.5 |  |  |  |  |  |
| 18 |  |  |  | Foundations |  |  | ▲■ | BC 1808 / 1809 / 1810 |  |  |  |  |  |
| 19 |  |  |  | Safety Glazing |  |  |  | BC 2406 |  |  |  |  |  |
| 20 |  |  |  | Electrical |  |  |  |  |  |  |  |  |
|  |  |  |  | Emergency and Standby Power |  |  | BC 2702 |  |  |  |  |  |
|  |  |  |  | Elevators and Platform Lifts |  |  | BC 2702.2.2 / Ch. 30 |  |  |  |  |  |
|  |  |  |  | Exit Signs |  |  | BC 2702.2.6 |  |  |  |  |  |
|  |  |  |  | High Rise Building |  |  | BC 2702.2.11 |  |  |  |  |  |
|  |  |  |  | Means of Egress Illumination |  |  | BC 2702.2.14 |  |  |  |  |  |
|  |  |  |  | Smoke Control Systems |  |  | BC 2702.2.17 |  |  |  |  |  |
|  |  |  |  | 2025 Mechanical Code of New York State |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  | Mechanical Systems |  |  |  | BC 2801.1 |  |  |  |  |  |
|  |  |  |  | Ducts and Air Transfer Openings |  |  | ▲ | BC 717 & BC 717.5 |  |  |  |  |  |
|  |  |  |  | Fan Shutdown |  |  |  | MC 606.4 |  |  |  |  |  |
|  |  |  |  | Combustion Air |  |  | ▲ | MC 701 / FGC 304.1 |  |  |  |  |  |
|  |  |  |  | Chimneys, Flues and Gas Vents |  |  | ▲ | MC 801.2 & BC 2113.1 |  |  | Provide diameter of chimney or gas vents |  |  |
|  |  |  |  | Boilers (required by NYS DOL ICR Part 4 / Part 14) |  |  |  | MC 1004.1.1 |  |  |  |  |  |
|  |  |  |  | 2025 Plumbing Code of New York State |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  | Plumbing |  |  |  | BC 2901.1 |  |  |  |  |  |
|  |  |  |  | Fixture Count |  |  | ▲ | BC 2902.1 & PC 403.1 |  |  |  |  |  |
|  |  |  |  | Maximum Consumption |  |  |  | PC 604.4 |  |  |  |  |  |
|  |  |  |  | Available Street Water Pressure |  |  | ▲ | PC 604.6 / 604.7 / 604.8 |  |  |  |  |  |
|  |  |  |  | Fixture Units |  |  |  | PC 709.1 |  |  |  |  |  |
|  |  |  |  | Building Traps |  |  |  | PC 1002.6 |  |  |  |  |  |
|  |  |  |  | NYS DOH Approvals / Water Supply |  |  | ▲ | NYCRR Title 10, Chap. 1, Part 5, Subpart 5.1 “10 States Standards” – “Public Water Systems” |  |  | Confirm submission to: NYS Dept. of Heath |  |  |
|  |  |  |  | 2025 Building Code of New York State (Elevators and other) |  |  |  |  |  |  |  |  |  |
| A |  |  |  | Elevator Emergency Operation |  |  | ▲ | BC 3003.2 |  |  |  |  |  |
|  |  |  |  | Elevator Lobbies and Hoist way Opening Protection |  |  |  | BC 3006 |  |  |  |  |  |
| B |  |  |  | Identification of truss type construction |  |  | ▲ | See Title 19 NYCRR, Part 1264 (link bottom of page at: https://dos.ny.gov/laws-and-regulations-division-building-standards-and-codes |  |  |  |  |  |

| ALLOWABLE BUILDING HEIGHT IN FEET ABOVE GRADE PLANE (BC 504) TABLE 504.3 |  |  |  |
| --- | --- | --- | --- |
| Occupancy Classifications | NS / S / S13R / S13D | Type of Construction | Allowable Building Height |

| ALLOWABLE NUMBER OF STORIES ABOVE GRADE PLANE (BC 504) TABLE 504.4 |  |  |  |
| --- | --- | --- | --- |
| Occupancy Classifications | NS/ S / S13R / S13D | Type of Construction | Allowable number of Stories |

| ALLOWABLE AREA FACTOR BC 506, TABLE 506.2 |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Occupancy Classifications | NS / SI / SM / S13R / S13D |  |  | Type of Construction |  |  |  | Allowable Actual (SF) |  |  |  |  |
| Section 506.3 Frontage Increase Table 506.3.3 |  |  |  |  |  |  |  |  |  |  |  |  |
| ACTUAL: |  |  |  | ALLOWABLE: |  |  |  |  |  |  |  |  |
| Occupant load AND MEANS OF EGRESS SIZING BC 1004 AND BC 1005 |  |  |  |  |  |  |  |  |  |  |  |  |
| FUNCTION OF SPACE |  | (a) | (b) |  | (c) | (d) |  |  | exit width (in) |  |  |  |
|  |  | area sq. ft. | area per occupant (table 1004.5) |  | occupant load (ab) | egress width per occupant (1005) |  |  | required width (section 1005) |  | actual width shown on plans |  |
|  |  |  |  |  |  | stair | level |  | ###### stair | level | stair | level |

| Number and arrangement of exits (BC Chapter 10) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| floor, room or space designation | minimum number of exits |  | travel distance (1017) |  | EXITS (1022.1) |  |
|  | REQUIRED | ### ACTUAL | ALLOWABLE | ACTUAL | REQUIRED DISTANCE BETWEEN EXIT DOORS | ACTUAL DISTANCE SHOWN ON PLANS |

| STRUCTURAL DESIGN |  |  |  |
| --- | --- | --- | --- |
| Design Data | Item | Value | Notes |
| Delegated Design Items (BC 1603.1) (NYS Education Law) | Support of Excavation Steel Connections Joists Trusses Curtain Walls / storefronts Lateral restraint of non-structural systems Pre-Engineering systems (PEMB, etc.) Additional items on plans if applicable | (yes / no) (yes / no) (yes / no) (yes / no) (yes / no) (yes / no) (yes / no) | Drawing # |
| Importance Factors (BC 1603.1) (BC 1604.5) | Risk category Ice (Ii) Wind (Iw) Snow (Is) Seismic (Ie) |  |  |
| Dead Loads (BC 1606) | Slab on Grade 1st Floor 2nd Floor 3rd Floor Roof Additional Areas on plans if applicable (Show equipment weights exceeding 150lbs on plans) | (psf) (psf) (psf) (psf) (psf) | Drawing # |
| Live Loads (BC 1603.1.1) (BC 1603.1.2) (BC 1607) | Slab on Grade 1st Floor 2nd Floor 3rd Floor Roof Additional Areas on plans of applicable | (psf) / (kips) (psf) / (kips) (psf) / (kips) (psf) / (kips) (psf) / (kips) | Drawing # |
| Snow Loads (BC 1603.1.3) (BC 1608) | - Ground snow load, pg - Elevation (if above 1,000-ft) - Flat -roof snow load, pf - Snow exposure factor, Ce - Thermal factor, Ct - Slope factor(s), Cs - Drift surcharge load(s) pd - Width of snow drift(s), w - Unbalanced Roof Snow Load Diagram | (psf) (ft) (psf) (psf) (ft) | or Drawing # or Drawing # Drawing # |
| Wind Loads (BC 1603.1.4) (BC 1609) | Basic wind speed, V (Vult 3 sec. gust) Vasd per 1609.3.1 Wind Exposure (and direction if multiple) Applicable internal pressure coefficient Component & cladding wind pressures | mph mph | Drawing # |
| Geotechnical Information (BC 1603.1.6) (BC Ch. 18) | Geotechnical report available Allowable vertical bearing pressure Allowable lateral bearing pressure Lateral sliding resistance Foundation type | (yes / no) (psf) (psf/ft) (coefficient or psf) (shallow or deep) | Provide copy note if presumed on plans note if presumed on plans note if presumed on plans |
| Design Data | Item | Value | Notes |
| Earthquake design data (BC 1603.1.5) (BC 1613) | Ss S1 Site Class SDS SD1 Seismic design category Basic seismic force-resisting system(s) Design base shear(s) Seismic response coefficient(s), CS Response modification coefficient(s), R Analysis procedure used |  | indicate different R values in different directions if applicable or if 2-stage analysis is used (podium) |
| Earthquake design data: Nonstructural Components (ASCE 7–22 Chapters 11,12,13,15,17,18) | Architectural Components and Supports and Attachments for Architectural Components Mechanical and Electrical Components Supports and Attachments for Mechanical and Electrical Components | Designed to Prevent Lateral Movement Exempt Designed to Prevent Lateral Movement Exempt Designed to Prevent Lateral Movement Exempt |  |
| Earthquake design data: Nonbuilding Structures (ASCE 7-22 Chapters 11,12,13,15,17,18) Nonbuilding Structures Similar to Buildings Nonbuilding Structures Not Similar to Buildings | NA If Applicable, Provide information below: Nonbuilding Structure Type Important Factor Ie Response Modification Coefficient(s) R Overstrength Factor(s) Ω0 Deflection Amplification Factor(s) Cd Seismic Response Coefficient(s) CS Effective Seismic Weight Redundancy Factor ρ Lateral Base Force(s) Eh Vertical Seismic Force Ev NA If Applicable, Provide information below: Nonbuilding Structure Type Important Factor Ie Response Modification Coefficient(s) R Overstrength Factor(s) Ω0 Deflection Amplification Factor(s) Cd Seismic Response Coefficient(s) CS Effective Seismic Weight Redundancy Factor ρ Lateral Base Force(s) Eh Vertical Seismic Force Ev | (Kips) (Kips) (Kips) (Kips) (Kips) (Kips) |  |
| Design Data | Item | Value | Notes |
| Flood design data (BC 1603.1.7) (BC 1612) | NA. If applicable, provide info. below: Flood design class: Elevation of the proposed lowest floor including the basement if flood hazard areas other than coastal high hazard areas or coastal A zones. The elevation to which any nonresidential building will be dry floodproofed if flood hazard areas other than coastal high hazard areas or coastal A zones. The proposed elevation of the bottom of the lowest horizontal structural member of the lowest floor, including the basement in coastal high hazard areas and coastal A zones | (ft) (ft) (ft) |  |
| Rain Loads (BC 1603.1.9) | Rain intensity, i | in/hr |  |
| Special Loads (BC 1603.1.8) | Green roofs Photovoltaic panel systems Other | (psf) (psf) (psf) |  |

| COMBUSTION AIR MC 701 and FGC 304 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Heating Appliance | BTUH Input | No. of openings | BTUH/Sq. In. |  |  |  | Sq In Free Area | Sq In Free Area |
|  |  |  | 1000 | 2000 | 3000 | 4000 | Gross | Net |

Total (Sq. In.):

| plumbing fixture requirements (BC 2902.1), PC 403 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| occupancy | waterclosets |  | urinals (PC424.2) | lavatories |  | showers/ tubs & Eyewash | drinking fountains |  | Service Sink |
|  | male | female |  | male | female |  | Regular | Accessible |  |

ADDITIONAL COMMENTS:

| ENERGY CODE COMPLIANCE CHECKLIST |  | OGS Project No.: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project Description: (Project Title, Facility Name and Address) | Building Name(s)/No.(s): |  |  | Client Agency: |  | Date: |
|  |  |  |  | DOS Variance Requested: Yes No |  |  |
| Energy Code Compliance Path: 2025 NYS ASHRAE 90.1 Compliance Path Prescriptive 2025 Energy Conservation Construction Code 2025 Energy Conservation Construction Code (High Performance) |  |  | Energy Code Building Type: Residential Commercial |  |  |  |
|  |  |  | Demonstrated Compliance: REScheck COMcheck Modeling |  |  |  |

The use of the software (COMcheck, REScheck and Approved) or modeling approach to demonstrate compliance does not excuse compliance with any mandatory provision of the 2025 ECCC Commercial Provisions or the 2025 NYS ASHRAE 90.1 as applicable.

2025 Energy Conservation Construction Code of New York State – C 105.2 Information on construction documents:

| Prescriptive Code Requirement | Drawing No./ Spec. Section No. | Detail Nos./ Spec. Subsection | Not Applicable |
| --- | --- | --- | --- |
| - Insulation materials and their R-values |  |  |  |
| - Fenestration U-factor and solar heat gain coefficient (SHGC) |  |  |  |
| - Area-weighted U-factor and solar heat gain coefficient (SHGC) calculations |  |  |  |
| - Mechanical system design criteria |  |  |  |
| - Mechanical and service water heating system and equipment types, sizes and efficiencies |  |  |  |
| - Economizer description |  |  |  |
| - Equipment and system controls |  |  |  |
| - Fan motor horsepower (hp) and controls |  |  |  |
| - Duct sealing, duct and pipe insulation and location |  |  |  |
| - Lighting fixture schedule with wattage and control narrative |  |  |  |
| - Location of daylight zones on floor plans |  |  |  |
| - Air sealing details |  |  |  |
| Building Thermal Envelope Depiction (C 105.2.1) |  |  |  |
| Written Statement (C 105.2.3) |  |  |  |
| Additional Efficiency Packages (C 406.1) |  |  |  |